## 05-2020-VIMS_Wach_Dock-EXOdata
The raw/archived data from this spreadsheet has not been subjected to VIMS ESL quality control.
Questionable readings, outliers, missed readings, or gaps in the dataset may appear in the data and should be handled with appropriate caution and user discretion.
The timestamps on the EXOdata file are in Coordinated Universal Time or UTC time, because the sondes are not able to account for daylight savings time.
Eastern Standard Time (EST) with respect to Coordinated Universal Time (UTC) is as follows:
Autumn/Winter EST = UTC - 05:00 hours
Spring/Summer (when observing daylight saving time) EST = UTC - 04:00 hours
MM/DD/YY | HH:mm:SS | Date/Time Combined | Temp ('C) | SpCond (ms/cm) | Salinity (ppt) | pH | pH (mv) | ODO (mg/L) | ODO (%sat) | Turb (NTU) | TSS (mg/L) | Chl (ug/L) | BGA-PE (ug/L) | Battery (volts) | Sonde SN
2020-05-01 | 4:00 | 2020-05-01 04:00 | 16.682 | 44.305 | 28.66 | 7.72 | -60.6 | 7.11 | 87 | 45.3 | 0 | 3.79 | 3.99 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 4:15 | 2020-05-01 04:15 | 16.662 | 44.343 | 28.69 | 7.72 | -60.6 | 7.1 | 86.8 | 31.86 | 0 | 3.75 | 4.1 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 4:30 | 2020-05-01 04:30 | 16.648 | 44.402 | 28.73 | 7.72 | -60.5 | 7.09 | 86.6 | 19.81 | 0 | 3.39 | 3.68 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 4:45 | 2020-05-01 04:45 | 16.631 | 44.733 | 28.97 | 7.72 | -60.5 | 7.07 | 86.5 | 19.76 | 0 | 3.27 | 3.37 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 5:00 | 2020-05-01 05:00 | 16.615 | 44.772 | 29 | 7.71 | -60.4 | 7.06 | 86.3 | 15.9 | 0 | 3.11 | 3.38 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 5:15 | 2020-05-01 05:15 | 16.593 | 44.889 | 29.08 | 7.71 | -60.4 | 7.06 | 86.4 | 13.6 | 0 | 2.81 | 3.13 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 5:30 | 2020-05-01 05:30 | 16.57 | 45.044 | 29.19 | 7.72 | -60.4 | 7.06 | 86.4 | 13.27 | 0 | 3.09 | 3.65 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 5:45 | 2020-05-01 05:45 | 16.555 | 45.175 | 29.29 | 7.72 | -60.6 | 7.07 | 86.6 | 13.43 | 0 | 2.57 | 2.86 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 6:00 | 2020-05-01 06:00 | 16.536 | 45.279 | 29.36 | 7.72 | -60.7 | 7.07 | 86.6 | 12.71 | 0 | 2.84 | 3.33 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 6:15 | 2020-05-01 06:15 | 16.51 | 45.346 | 29.41 | 7.72 | -61 | 7.08 | 86.6 | 13.67 | 0 | 2.96 | 3.27 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 6:30 | 2020-05-01 06:30 | 16.492 | 45.401 | 29.45 | 7.73 | -61.1 | 7.09 | 86.7 | 12.38 | 0 | 2.68 | 2.91 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 6:45 | 2020-05-01 06:45 | 16.477 | 45.443 | 29.48 | 7.73 | -61.1 | 7.08 | 86.7 | 12.21 | 0 | 2.76 | 2.81 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 7:00 | 2020-05-01 07:00 | 16.454 | 45.495 | 29.52 | 7.73 | -61.2 | 7.09 | 86.7 | 11.88 | 0 | 2.62 | 2.82 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 7:15 | 2020-05-01 07:15 | 16.43 | 45.562 | 29.56 | 7.73 | -61.4 | 7.09 | 86.7 | 11.94 | 0 | 2.64 | 2.94 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 7:30 | 2020-05-01 07:30 | 16.414 | 45.609 | 29.6 | 7.73 | -61.5 | 7.09 | 86.7 | 10.83 | 0 | 2.37 | 2.53 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 7:45 | 2020-05-01 07:45 | 16.408 | 45.632 | 29.61 | 7.73 | -61.3 | 7.06 | 86.4 | 11.94 | 0 | 2.56 | 2.93 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 8:00 | 2020-05-01 08:00 | 16.393 | 45.698 | 29.66 | 7.74 | -61.5 | 7.07 | 86.5 | 10.46 | 0 | 2.57 | 3.52 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 8:15 | 2020-05-01 08:15 | 16.421 | 45.587 | 29.58 | 7.73 | -61.1 | 7.02 | 85.9 | 10.08 | 0 | 2.42 | 3.12 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 8:30 | 2020-05-01 08:30 | 16.421 | 45.562 | 29.56 | 7.73 | -61 | 7.03 | 85.9 | 9.84 | 0 | 2.39 | 2.86 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 8:45 | 2020-05-01 08:45 | 16.422 | 45.497 | 29.52 | 7.71 | -60.2 | 6.93 | 84.7 | 8.62 | 0 | 2.31 | 2.66 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 9:00 | 2020-05-01 09:00 | 16.407 | 45.491 | 29.51 | 7.71 | -60.1 | 6.9 | 84.4 | 8.96 | 0 | 2.3 | 2.75 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 9:15 | 2020-05-01 09:15 | 16.385 | 45.117 | 29.24 | 7.68 | -58.4 | 6.75 | 82.3 | 9.2 | 0 | 2.31 | 2.45 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 9:30 | 2020-05-01 09:30 | 16.374 | 44.875 | 29.07 | 7.66 | -57 | 6.62 | 80.6 | 8.51 | 0 | 2.37 | 2.59 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 9:45 | 2020-05-01 09:45 | 16.356 | 44.735 | 28.97 | 7.64 | -56.3 | 6.55 | 79.7 | 10.06 | 0 | 2.39 | 2.44 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 10:00 | 2020-05-01 10:00 | 16.354 | 44.658 | 28.91 | 7.63 | -55.6 | 6.46 | 78.6 | 10.25 | 0 | 2.63 | 2.45 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 10:15 | 2020-05-01 10:15 | 16.351 | 44.546 | 28.83 | 7.62 | -55.2 | 6.44 | 78.2 | 11.61 | 0 | 2.59 | 2.62 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 10:30 | 2020-05-01 10:30 | 16.303 | 44.113 | 28.52 | 7.59 | -53.1 | 6.28 | 76.1 | 11.97 | 0 | 2.53 | 2.64 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 10:45 | 2020-05-01 10:45 | 16.294 | 43.96 | 28.41 | 7.57 | -52.1 | 6.2 | 75 | 13.02 | 0 | 2.61 | 2.77 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 11:00 | 2020-05-01 11:00 | 16.295 | 43.917 | 28.38 | 7.56 | -51.8 | 6.14 | 74.4 | 14.29 | 0 | 2.77 | 2.93 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 11:15 | 2020-05-01 11:15 | 16.276 | 43.744 | 28.26 | 7.54 | -50.5 | 6.03 | 72.9 | 13.41 | 0 | 2.58 | 2.99 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 11:30 | 2020-05-01 11:30 | 16.265 | 43.773 | 28.28 | 7.54 | -50.3 | 5.98 | 72.4 | 13.8 | 0 | 2.74 | 2.96 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 11:45 | 2020-05-01 11:45 | 16.237 | 43.622 | 28.17 | 7.55 | -50.8 | 6.06 | 73.2 | 14.71 | 0 | 3.04 | 3.22 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 12:00 | 2020-05-01 12:00 | 16.258 | 43.475 | 28.06 | 7.55 | -50.9 | 6.09 | 73.6 | 16.81 | 0 | 3.08 | 3.35 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 12:15 | 2020-05-01 12:15 | 16.306 | 43.183 | 27.85 | 7.58 | -52.6 | 6.25 | 75.4 | 16.7 | 0 | 3.2 | 3.45 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 12:30 | 2020-05-01 12:30 | 16.364 | 42.605 | 27.44 | 7.57 | -52 | 6.23 | 75.1 | 13.93 | 0 | 3.27 | 3.53 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 12:45 | 2020-05-01 12:45 | 16.411 | 41.686 | 26.79 | 7.58 | -52.8 | 6.31 | 75.9 | 14.35 | 0 | 3.54 | 3.8 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 13:00 | 2020-05-01 13:00 | 16.471 | 41.035 | 26.32 | 7.58 | -52.5 | 6.33 | 76 | 11.15 | 0 | 3.42 | 3.73 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 13:15 | 2020-05-01 13:15 | 16.48 | 40.716 | 26.1 | 7.55 | -51.4 | 6.28 | 75.3 | 12.33 | 0 | 3.6 | 4.09 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 13:30 | 2020-05-01 13:30 | 16.494 | 40.45 | 25.91 | 7.53 | -50 | 6.23 | 74.7 | 11.97 | 0 | 3.69 | 4.28 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 13:45 | 2020-05-01 13:45 | 16.541 | 40.06 | 25.63 | 7.53 | -49.8 | 6.24 | 74.7 | 11.18 | 0 | 4.21 | 4.75 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 14:00 | 2020-05-01 14:00 | 16.613 | 39.749 | 25.41 | 7.53 | -49.9 | 6.24 | 74.7 | 9.44 | 0 | 4.12 | 5.05 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 14:15 | 2020-05-01 14:15 | 16.634 | 39.833 | 25.47 | 7.53 | -49.8 | 6.28 | 75.2 | 10.35 | 0 | 4.04 | 4.92 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 14:30 | 2020-05-01 14:30 | 16.614 | 40.137 | 25.69 | 7.53 | -49.7 | 6.23 | 74.6 | 10.19 | 0 | 3.95 | 4.83 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 14:45 | 2020-05-01 14:45 | 16.531 | 40.784 | 26.15 | 7.53 | -50.2 | 6.14 | 73.7 | 11.24 | 0 | 2.95 | 3.33 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 15:00 | 2020-05-01 15:00 | 16.523 | 40.993 | 26.29 | 7.54 | -50.7 | 6.18 | 74.3 | 12.2 | 0 | 3.05 | 3.25 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 15:15 | 2020-05-01 15:15 | 16.504 | 41.389 | 26.58 | 7.56 | -51.4 | 6.22 | 74.8 | 12.31 | 0 | 3.06 | 3.61 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 15:30 | 2020-05-01 15:30 | 16.492 | 41.795 | 26.86 | 7.57 | -52 | 6.3 | 75.9 | 13.05 | 0 | 3.32 | 3.96 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 15:45 | 2020-05-01 15:45 | 16.479 | 42.732 | 27.53 | 7.59 | -53.3 | 6.41 | 77.5 | 12.7 | 0 | 3.07 | 3.61 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 16:00 | 2020-05-01 16:00 | 16.463 | 43.663 | 28.2 | 7.61 | -54.7 | 6.56 | 79.6 | 12.49 | 0 | 2.83 | 3.02 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 16:15 | 2020-05-01 16:15 | 16.467 | 44.495 | 28.8 | 7.66 | -57.4 | 6.82 | 83.1 | 11.96 | 0 | 2.64 | 2.74 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 16:30 | 2020-05-01 16:30 | 16.496 | 44.772 | 29 | 7.68 | -58.2 | 6.89 | 84.1 | 11.33 | 0 | 2.55 | 2.52 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 16:45 | 2020-05-01 16:45 | 16.564 | 44.728 | 28.97 | 7.67 | -58.1 | 6.9 | 84.3 | 9.67 | 0 | 2.38 | 2.25 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 17:00 | 2020-05-01 17:00 | 16.635 | 44.704 | 28.95 | 7.67 | -58 | 6.9 | 84.4 | 9.7 | 0 | 2.32 | 2.55 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 17:15 | 2020-05-01 17:15 | 16.665 | 44.754 | 28.98 | 7.67 | -58 | 6.92 | 84.7 | 9.72 | 0 | 2.37 | 2.51 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 17:30 | 2020-05-01 17:30 | 16.685 | 44.835 | 29.04 | 7.67 | -57.8 | 6.9 | 84.5 | 9.21 | 0 | 2.3 | 2.21 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 17:45 | 2020-05-01 17:45 | 16.726 | 44.839 | 29.05 | 7.67 | -57.8 | 6.9 | 84.6 | 9.52 | 0 | 2.49 | 2.46 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 18:00 | 2020-05-01 18:00 | 16.804 | 44.824 | 29.04 | 7.67 | -57.8 | 6.92 | 85 | 9.66 | 0 | 2.39 | 2.54 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 18:15 | 2020-05-01 18:15 | 16.886 | 44.852 | 29.06 | 7.67 | -58.1 | 6.98 | 85.9 | 9.44 | 0 | 2.48 | 2.65 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 18:30 | 2020-05-01 18:30 | 16.926 | 44.912 | 29.1 | 7.68 | -58.3 | 7.02 | 86.4 | 10.04 | 0 | 2.53 | 2.52 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 18:45 | 2020-05-01 18:45 | 16.955 | 44.984 | 29.15 | 7.68 | -58.4 | 7.02 | 86.6 | 10.13 | 0 | 2.26 | 2.3 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 19:00 | 2020-05-01 19:00 | 16.983 | 45.06 | 29.21 | 7.68 | -58.5 | 7.03 | 86.7 | 10.03 | 0 | 2.47 | 2.6 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 19:15 | 2020-05-01 19:15 | 17.009 | 45.119 | 29.25 | 7.68 | -58.7 | 7.04 | 86.9 | 9.58 | 0 | 2.41 | 2.57 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 19:30 | 2020-05-01 19:30 | 17.038 | 45.155 | 29.28 | 7.69 | -58.8 | 7.03 | 86.8 | 8.75 | 0 | 2.28 | 2.11 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 19:45 | 2020-05-01 19:45 | 17.091 | 45.179 | 29.29 | 7.69 | -59 | 7.04 | 87.1 | 9.65 | 0 | 2.16 | 2.07 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 20:00 | 2020-05-01 20:00 | 17.127 | 45.197 | 29.31 | 7.69 | -59.1 | 7.05 | 87.3 | 8.9 | 0 | 2.02 | 2.08 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 20:15 | 2020-05-01 20:15 | 17.099 | 45.254 | 29.35 | 7.69 | -59.3 | 7.05 | 87.3 | 9.72 | 0 | 2.29 | 2.51 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 20:30 | 2020-05-01 20:30 | 17.122 | 45.273 | 29.36 | 7.7 | -59.5 | 7.1 | 87.9 | 8.58 | 0 | 2.76 | 2.83 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 20:45 | 2020-05-01 20:45 | 17.189 | 45.201 | 29.31 | 7.7 | -59.5 | 7.12 | 88.3 | 7.25 | 0 | 2.69 | 2.75 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 21:00 | 2020-05-01 21:00 | 17.354 | 45.171 | 29.29 | 7.71 | -60.3 | 7.26 | 90.2 | 7.23 | 0 | 2.57 | 2.9 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 21:15 | 2020-05-01 21:15 | 17.658 | 45.062 | 29.21 | 7.73 | -61.5 | 7.45 | 93.1 | 6.51 | 0 | 2.82 | 2.85 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 21:30 | 2020-05-01 21:30 | 17.681 | 45.016 | 29.18 | 7.73 | -61.5 | 7.48 | 93.5 | 7.2 | 0 | 2.59 | 2.35 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 21:45 | 2020-05-01 21:45 | 17.909 | 44.858 | 29.07 | 7.75 | -62.4 | 7.65 | 96 | 7.29 | 0 | 2.64 | 2.48 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 22:00 | 2020-05-01 22:00 | 18.475 | 44.173 | 28.58 | 7.76 | -63.4 | 7.9 | 100 | 7.36 | 0 | 2.53 | 2.52 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 22:15 | 2020-05-01 22:15 | 18.467 | 44.244 | 28.63 | 7.76 | -63.5 | 7.91 | 100.1 | 7.67 | 0 | 2.43 | 2.39 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 22:30 | 2020-05-01 22:30 | 18.582 | 44.072 | 28.5 | 7.77 | -63.7 | 7.94 | 100.5 | 8.66 | 0 | 2.47 | 2.24 | 5.46 | 18C103739VIMS_Wach_Dock
2020-05-01 | 22:45 | 2020-05-01 22:45 | 18.914 | 43.517 | 28.1 | 7.77 | -63.8 | 8.03 | 102.1 | 9.38 | 0 | 2.61 | 2.6 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 23:00 | 2020-05-01 23:00 | 18.911 | 43.432 | 28.04 | 7.77 | -63.9 | 8.03 | 102.1 | 9.02 | 0 | 2.59 | 2.31 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 23:15 | 2020-05-01 23:15 | 18.877 | 43.432 | 28.04 | 7.77 | -63.9 | 8.02 | 102 | 9.06 | 0 | 2.52 | 2.28 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 23:30 | 2020-05-01 23:30 | 18.701 | 43.51 | 28.1 | 7.77 | -63.6 | 7.95 | 100.7 | 9.11 | 0 | 2.35 | 2.27 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-01 | 23:45 | 2020-05-01 23:45 | 18.645 | 43.6 | 28.16 | 7.77 | -63.9 | 7.96 | 100.7 | 9.52 | 0 | 2.51 | 2.61 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 0:00 | 2020-05-02 | 18.426 | 43.09 | 27.8 | 7.76 | -63.4 | 7.89 | 99.3 | 10.61 | 0 | 2.75 | 2.82 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 0:15 | 2020-05-02 00:15 | 18.311 | 42.173 | 27.14 | 7.76 | -63.5 | 7.89 | 98.6 | 10.63 | 0 | 3.13 | 2.96 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 0:30 | 2020-05-02 00:30 | 18.331 | 41.66 | 26.78 | 7.75 | -62.6 | 7.85 | 97.9 | 10.87 | 0 | 3.39 | 3.3 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 0:45 | 2020-05-02 00:45 | 18.282 | 40.842 | 26.19 | 7.74 | -62 | 7.82 | 97.2 | 10.42 | 0 | 3.39 | 3.59 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 1:00 | 2020-05-02 01:00 | 18.301 | 40.212 | 25.75 | 7.72 | -61.1 | 7.79 | 96.6 | 11.98 | 0 | 3.55 | 3.6 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 1:15 | 2020-05-02 01:15 | 18.284 | 39.399 | 25.17 | 7.72 | -60.7 | 7.78 | 96 | 10.38 | 0 | 3.53 | 3.68 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 1:30 | 2020-05-02 01:30 | 18.208 | 38.809 | 24.75 | 7.7 | -60 | 7.74 | 95.2 | 10.22 | 0 | 3.69 | 3.9 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 1:45 | 2020-05-02 01:45 | 18.214 | 38.314 | 24.41 | 7.7 | -59.6 | 7.73 | 94.9 | 9.84 | 0 | 3.83 | 3.85 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 2:00 | 2020-05-02 02:00 | 18.091 | 37.957 | 24.15 | 7.69 | -59.1 | 7.7 | 94.2 | 9.52 | 0 | 3.61 | 3.65 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 2:15 | 2020-05-02 02:15 | 18.055 | 37.673 | 23.96 | 7.67 | -58.3 | 7.66 | 93.5 | 9.2 | 0 | 4.02 | 3.97 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 2:30 | 2020-05-02 02:30 | 18.015 | 37.555 | 23.87 | 7.67 | -58.1 | 7.61 | 92.8 | 8.63 | 0 | 4.66 | 5.3 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 2:45 | 2020-05-02 02:45 | 17.993 | 37.737 | 24 | 7.67 | -58.3 | 7.62 | 92.9 | 9.33 | 0 | 3.58 | 4 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 3:00 | 2020-05-02 03:00 | 18.096 | 38.873 | 24.8 | 7.68 | -58.8 | 7.57 | 92.9 | 10.18 | 0 | 3.32 | 3.5 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 3:15 | 2020-05-02 03:15 | 18.127 | 39.554 | 25.28 | 7.69 | -59 | 7.51 | 92.5 | 10.61 | 0 | 3.27 | 3.1 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 3:30 | 2020-05-02 03:30 | 18.096 | 40.054 | 25.63 | 7.7 | -59.6 | 7.54 | 93.1 | 10.84 | 0 | 3.77 | 3.95 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 3:45 | 2020-05-02 03:45 | 17.984 | 41.224 | 26.47 | 7.7 | -60 | 7.49 | 92.7 | 13.47 | 0 | 3.03 | 3.08 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 4:00 | 2020-05-02 04:00 | 17.719 | 42.537 | 27.4 | 7.71 | -60.5 | 7.44 | 92.1 | 13.4 | 0 | 2.95 | 3.03 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 4:15 | 2020-05-02 04:15 | 17.483 | 43.502 | 28.09 | 7.71 | -60.4 | 7.35 | 91 | 11.65 | 0 | 2.61 | 2.79 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 4:30 | 2020-05-02 04:30 | 17.317 | 43.794 | 28.3 | 7.71 | -60.1 | 7.26 | 89.6 | 11.47 | 0 | 2.35 | 2.42 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 4:45 | 2020-05-02 04:45 | 17.227 | 43.912 | 28.38 | 7.71 | -60 | 7.22 | 89 | 10.95 | 0 | 2.26 | 2.15 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 5:00 | 2020-05-02 05:00 | 17.149 | 44.078 | 28.5 | 7.71 | -60 | 7.21 | 88.9 | 10.44 | 0 | 2.22 | 2.07 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 5:15 | 2020-05-02 05:15 | 17.066 | 44.203 | 28.59 | 7.71 | -60 | 7.19 | 88.5 | 9.6 | 0 | 2.28 | 2.46 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 5:30 | 2020-05-02 05:30 | 16.977 | 44.187 | 28.58 | 7.7 | -59.8 | 7.16 | 87.9 | 8.94 | 0 | 2.05 | 2.17 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 5:45 | 2020-05-02 05:45 | 16.882 | 44.391 | 28.73 | 7.7 | -59.5 | 7.11 | 87.3 | 8.12 | 0 | 1.91 | 1.95 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 6:00 | 2020-05-02 06:00 | 16.811 | 44.447 | 28.77 | 7.69 | -59.3 | 7.09 | 86.9 | 8.1 | 0 | 1.89 | 1.97 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 6:15 | 2020-05-02 06:15 | 16.728 | 44.535 | 28.83 | 7.69 | -59.1 | 7.06 | 86.5 | 7.95 | 0 | 1.86 | 1.99 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 6:30 | 2020-05-02 06:30 | 16.647 | 44.643 | 28.9 | 7.69 | -58.9 | 7.04 | 86.1 | 8.62 | 0 | 1.95 | 1.88 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 6:45 | 2020-05-02 06:45 | 16.53 | 44.67 | 28.92 | 7.69 | -58.8 | 7.03 | 85.8 | 8.66 | 0 | 1.8 | 2.18 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 7:00 | 2020-05-02 07:00 | 16.384 | 45.046 | 29.19 | 7.69 | -59 | 7.03 | 85.7 | 8.34 | 0 | 1.92 | 1.65 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 7:15 | 2020-05-02 07:15 | 16.262 | 45.245 | 29.33 | 7.7 | -59.3 | 7.04 | 85.7 | 7.94 | 0 | 1.9 | 1.81 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 7:30 | 2020-05-02 07:30 | 16.188 | 45.176 | 29.28 | 7.7 | -59.3 | 7.04 | 85.5 | 6.91 | 0 | 1.67 | 1.81 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 7:45 | 2020-05-02 07:45 | 16.124 | 45.449 | 29.48 | 7.7 | -59.7 | 7.05 | 85.6 | 7.59 | 0 | 1.83 | 1.85 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 8:00 | 2020-05-02 08:00 | 16.088 | 45.502 | 29.52 | 7.7 | -59.7 | 7.03 | 85.3 | 6.21 | 0 | 1.95 | 2.14 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 8:15 | 2020-05-02 08:15 | 16.034 | 45.617 | 29.6 | 7.71 | -59.9 | 7.04 | 85.4 | 6.37 | 0 | 1.78 | 1.66 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 8:30 | 2020-05-02 08:30 | 16.003 | 45.697 | 29.66 | 7.71 | -60.1 | 7.04 | 85.4 | 6.1 | 0 | 1.78 | 1.99 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 8:45 | 2020-05-02 08:45 | 15.982 | 45.758 | 29.7 | 7.71 | -60.3 | 7.03 | 85.3 | 6.57 | 0 | 1.59 | 1.87 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 9:00 | 2020-05-02 09:00 | 15.956 | 45.843 | 29.76 | 7.72 | -60.5 | 7.05 | 85.5 | 5.93 | 0 | 1.72 | 1.88 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 9:15 | 2020-05-02 09:15 | 16.005 | 45.77 | 29.71 | 7.71 | -60.2 | 7 | 85 | 5.75 | 0 | 1.44 | 1.72 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 9:30 | 2020-05-02 09:30 | 15.933 | 45.72 | 29.67 | 7.71 | -60.3 | 7.07 | 85.6 | 4.85 | 0 | 1.74 | 1.84 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 9:45 | 2020-05-02 09:45 | 15.881 | 45.635 | 29.61 | 7.71 | -59.9 | 7.02 | 85 | 4.95 | 0 | 1.81 | 1.88 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 10:00 | 2020-05-02 10:00 | 15.77 | 45.453 | 29.48 | 7.7 | -59.3 | 6.97 | 84.1 | 5.82 | 0 | 1.74 | 1.9 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 10:15 | 2020-05-02 10:15 | 15.678 | 44.285 | 28.64 | 7.67 | -57.8 | 6.89 | 82.6 | 5.69 | 0 | 1.79 | 1.85 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 10:30 | 2020-05-02 10:30 | 15.551 | 44.851 | 29.04 | 7.65 | -56.8 | 6.81 | 81.6 | 7.01 | 0 | 1.79 | 1.72 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 10:45 | 2020-05-02 10:45 | 15.413 | 44.568 | 28.83 | 7.63 | -55.7 | 6.75 | 80.5 | 8.17 | 0 | 1.94 | 1.91 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 11:00 | 2020-05-02 11:00 | 15.348 | 44.385 | 28.7 | 7.62 | -54.7 | 6.68 | 79.5 | 8.16 | 0 | 2 | 2.07 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 11:15 | 2020-05-02 11:15 | 15.287 | 44.141 | 28.53 | 7.61 | -54.1 | 6.65 | 79 | 8.6 | 0 | 1.97 | 2.11 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 11:30 | 2020-05-02 11:30 | 15.258 | 43.899 | 28.35 | 7.6 | -53.6 | 6.64 | 78.7 | 8.65 | 0 | 1.98 | 2.25 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 11:45 | 2020-05-02 11:45 | 15.293 | 43.596 | 28.14 | 7.6 | -54 | 6.69 | 79.4 | 8.57 | 0 | 2.19 | 2.42 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-02 | 12:00 | 2020-05-02 12:00 | 15.263 | 43.672 | 28.19 | 7.58 | -52.7 | 6.61 | 78.3 | 9.38 | 0 | 2.19 | 2.43 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 12:15 | 2020-05-02 12:15 | 15.286 | 43.519 | 28.08 | 7.59 | -53 | 6.66 | 78.9 | 12.18 | 0 | 2.3 | 2.78 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 12:30 | 2020-05-02 12:30 | 15.317 | 43.176 | 27.84 | 7.62 | -54.8 | 6.85 | 81.1 | 12.5 | 0 | 2.49 | 2.77 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 12:45 | 2020-05-02 12:45 | 15.463 | 42.014 | 27.01 | 7.66 | -57.4 | 7.11 | 84 | 14.26 | 0 | 2.86 | 3.06 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 13:00 | 2020-05-02 13:00 | 15.51 | 41.013 | 26.3 | 7.65 | -56.8 | 7.19 | 84.7 | 13.68 | 0 | 3.01 | 3.42 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-02 | 13:15 | 2020-05-02 13:15 | 15.538 | 40.186 | 25.71 | 7.66 | -56.9 | 7.29 | 85.6 | 13.42 | 0 | 3.36 | 3.61 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 13:30 | 2020-05-02 13:30 | 15.566 | 39.619 | 25.31 | 7.64 | -56.1 | 7.33 | 85.8 | 15.55 | 0 | 3.48 | 3.64 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 13:45 | 2020-05-02 13:45 | 15.637 | 39.101 | 24.95 | 7.63 | -55.8 | 7.38 | 86.4 | 13.57 | 0 | 3.72 | 4.09 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 14:00 | 2020-05-02 14:00 | 15.715 | 38.829 | 24.76 | 7.63 | -55.5 | 7.42 | 86.9 | 12.8 | 0 | 3.69 | 4.17 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 14:15 | 2020-05-02 14:15 | 15.776 | 38.38 | 24.44 | 7.63 | -55.4 | 7.45 | 87.2 | 12.67 | 0 | 3.57 | 4.1 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-02 | 14:30 | 2020-05-02 14:30 | 15.875 | 38.088 | 24.24 | 7.62 | -55.2 | 7.49 | 87.7 | 12.08 | 0 | 4.06 | 4.61 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 14:45 | 2020-05-02 14:45 | 15.942 | 38.135 | 24.27 | 7.63 | -55.5 | 7.47 | 87.7 | 9.99 | 0 | 4.47 | 4.97 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 15:00 | 2020-05-02 15:00 | 15.999 | 38.111 | 24.25 | 7.63 | -55.7 | 7.54 | 88.6 | 10.28 | 0 | 4.43 | 4.67 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 15:15 | 2020-05-02 15:15 | 16.169 | 38.053 | 24.22 | 7.64 | -56 | 7.55 | 88.9 | 11.53 | 0 | 4.85 | 5.59 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 15:30 | 2020-05-02 15:30 | 16.11 | 38.494 | 24.52 | 7.63 | -55.7 | 7.47 | 88.1 | 11.51 | 0 | 3.88 | 4.38 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 15:45 | 2020-05-02 15:45 | 16.117 | 38.652 | 24.64 | 7.63 | -55.6 | 7.42 | 87.5 | 11.37 | 0 | 3.42 | 3.87 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 16:00 | 2020-05-02 16:00 | 16.143 | 39.017 | 24.89 | 7.64 | -55.9 | 7.42 | 87.7 | 12.23 | 0 | 3.57 | 3.9 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 16:15 | 2020-05-02 16:15 | 16.128 | 39.462 | 25.21 | 7.64 | -56.1 | 7.42 | 87.8 | 10.51 | 0 | 3.36 | 3.64 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 16:30 | 2020-05-02 16:30 | 16.263 | 40.695 | 26.08 | 7.66 | -57.3 | 7.48 | 89.3 | 10.83 | 0 | 2.93 | 2.8 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 16:45 | 2020-05-02 16:45 | 16.502 | 41.635 | 26.75 | 7.68 | -58.7 | 7.62 | 91.7 | 11.17 | 0 | 2.69 | 2.75 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 17:00 | 2020-05-02 17:00 | 16.696 | 42.023 | 27.03 | 7.7 | -59.5 | 7.69 | 93.1 | 10.41 | 0 | 2.56 | 2.53 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 17:15 | 2020-05-02 17:15 | 16.987 | 42.465 | 27.35 | 7.71 | -60.5 | 7.79 | 95.1 | 10.8 | 0 | 2.56 | 2.6 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 17:30 | 2020-05-02 17:30 | 17.269 | 42.9 | 27.66 | 7.73 | -61.2 | 7.85 | 96.5 | 10.44 | 0 | 2.7 | 2.74 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 17:45 | 2020-05-02 17:45 | 17.306 | 43.632 | 28.18 | 7.73 | -61.1 | 7.8 | 96.3 | 9.25 | 0 | 2.01 | 1.96 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 18:00 | 2020-05-02 18:00 | 17.4 | 44.1 | 28.52 | 7.72 | -61.1 | 7.78 | 96.4 | 9.13 | 0 | 2.12 | 2.07 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 18:15 | 2020-05-02 18:15 | 17.562 | 44.294 | 28.66 | 7.72 | -61.1 | 7.77 | 96.6 | 9.04 | 0 | 2.02 | 1.94 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 18:30 | 2020-05-02 18:30 | 17.736 | 44.498 | 28.81 | 7.72 | -60.9 | 7.72 | 96.5 | 8.12 | 0 | 1.9 | 1.48 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 18:45 | 2020-05-02 18:45 | 17.891 | 44.675 | 28.94 | 7.72 | -60.8 | 7.67 | 96.2 | 7.7 | 0 | 1.82 | 1.52 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 19:00 | 2020-05-02 19:00 | 18.024 | 44.821 | 29.04 | 7.72 | -60.8 | 7.63 | 95.9 | 6.98 | 0 | 1.49 | 1.12 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 19:15 | 2020-05-02 19:15 | 18.114 | 44.908 | 29.1 | 7.72 | -60.9 | 7.63 | 96.1 | 6.83 | 0 | 2.06 | 1.64 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 19:30 | 2020-05-02 19:30 | 18.21 | 44.894 | 29.09 | 7.72 | -60.9 | 7.64 | 96.5 | 7.42 | 0 | 1.87 | 1.79 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 19:45 | 2020-05-02 19:45 | 18.254 | 45.015 | 29.18 | 7.72 | -60.9 | 7.62 | 96.3 | 6.32 | 0 | 1.84 | 1.77 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 20:00 | 2020-05-02 20:00 | 18.281 | 45.209 | 29.32 | 7.72 | -61 | 7.61 | 96.3 | 7.21 | 0 | 1.93 | 1.49 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 20:15 | 2020-05-02 20:15 | 18.285 | 45.402 | 29.46 | 7.73 | -61.7 | 7.65 | 96.9 | 6.5 | 0 | 1.8 | 1.72 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 20:30 | 2020-05-02 20:30 | 18.264 | 45.111 | 29.25 | 7.74 | -62.1 | 7.69 | 97.3 | 6.17 | 0 | 1.83 | 1.52 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 20:45 | 2020-05-02 20:45 | 18.21 | 45.639 | 29.63 | 7.75 | -62.5 | 7.71 | 97.6 | 5.99 | 0 | 2.05 | 1.73 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 21:00 | 2020-05-02 21:00 | 18.226 | 45.632 | 29.63 | 7.75 | -62.6 | 7.71 | 97.6 | 5.37 | 0 | 2.29 | 1.79 | 5.45 | 18C103739VIMS_Wach_Dock
2020-05-02 | 21:15 | 2020-05-02 21:15 | 18.173 | 45.632 | 29.63 | 7.75 | -62.8 | 7.71 | 97.6 | 5.66 | 0 | 2.04 | 1.82 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 21:30 | 2020-05-02 21:30 | 18.203 | 45.488 | 29.52 | 7.75 | -62.4 | 7.68 | 97.2 | 5.85 | 0 | 2.05 | 1.91 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 21:45 | 2020-05-02 21:45 | 18.179 | 45.683 | 29.66 | 7.76 | -63.1 | 7.77 | 98.3 | 5.01 | 0 | 2.31 | 1.9 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 22:00 | 2020-05-02 22:00 | 18.321 | 45.396 | 29.46 | 7.76 | -63.4 | 7.88 | 100 | 4.96 | 0 | 1.97 | 1.81 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 22:15 | 2020-05-02 22:15 | 18.603 | 45.07 | 29.22 | 7.78 | -64.4 | 8.07 | 102.7 | 4.44 | 0 | 2.28 | 1.98 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 22:30 | 2020-05-02 22:30 | 18.827 | 45.087 | 29.23 | 7.79 | -64.8 | 8.07 | 103.1 | 4.88 | 0 | 2.27 | 1.67 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 22:45 | 2020-05-02 22:45 | 19.193 | 45.008 | 29.18 | 7.8 | -65.6 | 8.18 | 105.3 | 6.58 | 0 | 2.19 | 1.9 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 23:00 | 2020-05-02 23:00 | 19.365 | 44.624 | 28.9 | 7.8 | -65.8 | 8.2 | 105.7 | 6.35 | 0 | 2.44 | 2.2 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 23:15 | 2020-05-02 23:15 | 19.29 | 44.554 | 28.85 | 7.8 | -65.5 | 8.15 | 104.8 | 7.25 | 0 | 2.4 | 1.91 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-02 | 23:30 | 2020-05-02 23:30 | 19.259 | 44.384 | 28.73 | 7.79 | -65.1 | 8.12 | 104.4 | 8.29 | 0 | 2.32 | 2.16 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-02 | 23:45 | 2020-05-02 23:45 | 19.257 | 44.145 | 28.55 | 7.78 | -64.4 | 8.03 | 103.1 | 8.9 | 0 | 2.42 | 1.9 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 0:00 | 2020-05-03 | 19.122 | 44.005 | 28.45 | 7.77 | -63.7 | 7.93 | 101.5 | 9.5 | 0 | 2.62 | 2.21 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 0:15 | 2020-05-03 00:15 | 19.007 | 43.969 | 28.43 | 7.76 | -63.3 | 7.88 | 100.6 | 9.81 | 0 | 2.71 | 2.49 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 0:30 | 2020-05-03 00:30 | 19.002 | 43.492 | 28.09 | 7.8 | -65.8 | 8.14 | 103.7 | 12.48 | 0 | 3.4 | 2.87 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 0:45 | 2020-05-03 00:45 | 19.069 | 42.55 | 27.41 | 7.81 | -66.5 | 8.27 | 105 | 13.9 | 0 | 3.78 | 3.26 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 1:00 | 2020-05-03 01:00 | 19.082 | 41.727 | 26.82 | 7.81 | -66.2 | 8.26 | 104.6 | 14.69 | 0 | 3.88 | 3.66 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 1:15 | 2020-05-03 01:15 | 19.033 | 40.771 | 26.14 | 7.8 | -65.9 | 8.29 | 104.5 | 14.83 | 0 | 4.2 | 4.01 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 1:30 | 2020-05-03 01:30 | 18.975 | 40.182 | 25.72 | 7.79 | -65.1 | 8.25 | 103.5 | 15.55 | 0 | 4.5 | 4.37 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 1:45 | 2020-05-03 01:45 | 18.898 | 39.894 | 25.52 | 7.78 | -64.6 | 8.19 | 102.5 | 14.28 | 0 | 4.44 | 4.31 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 2:00 | 2020-05-03 02:00 | 18.857 | 39.551 | 25.28 | 7.78 | -64.2 | 8.16 | 101.9 | 13.59 | 0 | 4.67 | 4.45 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 2:15 | 2020-05-03 02:15 | 18.789 | 39.401 | 25.17 | 7.77 | -63.8 | 8.12 | 101.2 | 13.1 | 0 | 4.86 | 4.57 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 2:30 | 2020-05-03 02:30 | 18.726 | 39.221 | 25.05 | 7.76 | -63.4 | 8.08 | 100.6 | 12.97 | 0 | 4.91 | 4.7 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 2:45 | 2020-05-03 02:45 | 18.705 | 39.029 | 24.91 | 7.76 | -63 | 8.06 | 100.2 | 12.96 | 0 | 5.14 | 4.56 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 3:00 | 2020-05-03 03:00 | 18.661 | 38.903 | 24.82 | 7.75 | -62.8 | 8.04 | 99.8 | 12.73 | 0 | 5.51 | 5.19 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 3:15 | 2020-05-03 03:15 | 18.635 | 38.887 | 24.81 | 7.75 | -62.6 | 8.01 | 99.4 | 12.21 | 0 | 5.51 | 5.5 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 3:30 | 2020-05-03 03:30 | 18.604 | 39.128 | 24.98 | 7.74 | -62.2 | 7.92 | 98.3 | 11.71 | 0 | 4.76 | 4.52 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 3:45 | 2020-05-03 03:45 | 18.617 | 39.257 | 25.07 | 7.74 | -62.3 | 7.92 | 98.4 | 11.11 | 0 | 4.63 | 4.52 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 4:00 | 2020-05-03 04:00 | 18.645 | 39.387 | 25.16 | 7.74 | -62 | 7.86 | 97.7 | 11.87 | 0 | 4.62 | 4.35 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 4:15 | 2020-05-03 04:15 | 18.623 | 39.712 | 25.39 | 7.73 | -61.7 | 7.8 | 97.1 | 12.37 | 0 | 4.47 | 4.26 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 4:30 | 2020-05-03 04:30 | 18.591 | 40.379 | 25.87 | 7.74 | -62 | 7.77 | 96.9 | 12.79 | 0 | 4.13 | 3.85 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 4:45 | 2020-05-03 04:45 | 18.377 | 41.373 | 26.57 | 7.74 | -62 | 7.67 | 95.7 | 14.63 | 0 | 3.77 | 3.9 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 5:00 | 2020-05-03 05:00 | 18.138 | 42.489 | 27.37 | 7.73 | -61.6 | 7.52 | 93.8 | 17.24 | 0 | 3.52 | 3.34 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 5:15 | 2020-05-03 05:15 | 18.008 | 42.831 | 27.61 | 7.73 | -61.4 | 7.44 | 92.7 | 16.44 | 0 | 3.45 | 3.53 | 5.44 | 18C103739VIMS_Wach_Dock
2020-05-03 | 5:30 | 2020-05-03 05:30 | 17.87 | 43.132 | 27.83 | 7.73 | -61.5 | 7.43 | 92.5 | 19.22 | 0 | 3.53 | 3.49 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 5:45 | 2020-05-03 05:45 | 17.709 | 43.688 | 28.23 | 7.73 | -61.2 | 7.38 | 91.8 | 28.79 | 0 | 3.51 | 3.7 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 6:00 | 2020-05-03 06:00 | 17.539 | 44.23 | 28.61 | 7.72 | -60.9 | 7.32 | 91 | 42.58 | 0 | 3.44 | 3.77 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 6:15 | 2020-05-03 06:15 | 17.38 | 44.578 | 28.86 | 7.72 | -60.6 | 7.27 | 90.2 | 29.62 | 0 | 3.39 | 3.54 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 6:30 | 2020-05-03 06:30 | 17.27 | 44.875 | 29.08 | 7.72 | -60.7 | 7.24 | 89.7 | 25.35 | 0 | 3.23 | 3.36 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 6:45 | 2020-05-03 06:45 | 17.177 | 45.058 | 29.21 | 7.72 | -60.9 | 7.24 | 89.6 | 29.95 | 0 | 3.1 | 3.2 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 7:00 | 2020-05-03 07:00 | 17.113 | 45.164 | 29.28 | 7.72 | -61 | 7.23 | 89.5 | 26.24 | 0 | 2.85 | 3.03 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 7:15 | 2020-05-03 07:15 | 17.031 | 44.975 | 29.15 | 7.73 | -61.2 | 7.25 | 89.5 | 24.42 | 0 | 2.79 | 2.64 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 7:30 | 2020-05-03 07:30 | 16.97 | 45.39 | 29.45 | 7.73 | -61.4 | 7.23 | 89.4 | 20.01 | 0 | 2.62 | 2.7 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 7:45 | 2020-05-03 07:45 | 16.898 | 45.138 | 29.26 | 7.73 | -61.5 | 7.25 | 89.3 | 25.14 | 0 | 2.54 | 2.52 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 8:00 | 2020-05-03 08:00 | 16.8 | 45.644 | 29.63 | 7.73 | -61.5 | 7.24 | 89.2 | 14.07 | 0 | 2.5 | 2.36 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 8:15 | 2020-05-03 08:15 | 16.694 | 45.762 | 29.71 | 7.73 | -61.4 | 7.21 | 88.8 | 16.64 | 0 | 2.36 | 2.17 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 8:30 | 2020-05-03 08:30 | 16.593 | 45.484 | 29.51 | 7.73 | -61.2 | 7.2 | 88.4 | 16.82 | 0 | 2.32 | 2.1 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 8:45 | 2020-05-03 08:45 | 16.53 | 45.93 | 29.83 | 7.73 | -61.1 | 7.17 | 88.1 | 17.56 | 0 | 2.12 | 2.05 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 9:00 | 2020-05-03 09:00 | 16.495 | 45.978 | 29.87 | 7.73 | -61.1 | 7.17 | 88 | 12.27 | 0 | 2.18 | 1.94 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 9:15 | 2020-05-03 09:15 | 16.473 | 45.997 | 29.88 | 7.73 | -61.1 | 7.16 | 87.8 | 10.74 | 0 | 2.01 | 1.87 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 9:30 | 2020-05-03 09:30 | 16.454 | 46.012 | 29.89 | 7.73 | -61.1 | 7.15 | 87.6 | 9.73 | 0 | 2.08 | 1.94 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 9:45 | 2020-05-03 09:45 | 16.463 | 45.992 | 29.87 | 7.73 | -61 | 7.13 | 87.4 | 9.06 | 0 | 2.18 | 2.1 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 10:00 | 2020-05-03 10:00 | 16.447 | 45.757 | 29.71 | 7.73 | -61.1 | 7.14 | 87.4 | 8.78 | 0 | 2.4 | 1.97 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 10:15 | 2020-05-03 10:15 | 16.518 | 45.651 | 29.63 | 7.73 | -61.1 | 7.14 | 87.5 | 7.47 | 0 | 1.92 | 1.72 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 10:30 | 2020-05-03 10:30 | 16.499 | 45.864 | 29.78 | 7.72 | -60.9 | 7.09 | 87 | 7.36 | 0 | 1.72 | 1.64 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 10:45 | 2020-05-03 10:45 | 16.469 | 45.618 | 29.61 | 7.72 | -60.5 | 7.06 | 86.5 | 7.03 | 0 | 1.6 | 1.77 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 11:00 | 2020-05-03 11:00 | 16.32 | 45.21 | 29.31 | 7.7 | -59.8 | 7.02 | 85.5 | 7.94 | 0 | 1.91 | 1.6 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 11:15 | 2020-05-03 11:15 | 16.243 | 45.041 | 29.19 | 7.68 | -58.5 | 6.89 | 83.8 | 9.19 | 0 | 2.17 | 1.78 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 11:30 | 2020-05-03 11:30 | 16.254 | 45.025 | 29.18 | 7.68 | -58.1 | 6.86 | 83.4 | 8.34 | 0 | 2.17 | 1.91 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 11:45 | 2020-05-03 11:45 | 16.314 | 45.265 | 29.35 | 7.68 | -58.5 | 6.91 | 84.2 | 10.38 | 0 | 2.15 | 1.93 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 12:00 | 2020-05-03 12:00 | 16.32 | 45.389 | 29.44 | 7.68 | -58.2 | 6.88 | 83.9 | 15.76 | 0 | 2.44 | 2.34 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 12:15 | 2020-05-03 12:15 | 16.273 | 44.89 | 29.08 | 7.63 | -55.5 | 6.74 | 81.9 | 12.76 | 0 | 2.22 | 2.49 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 12:30 | 2020-05-03 12:30 | 16.348 | 44.196 | 28.58 | 7.62 | -55.3 | 6.77 | 82.2 | 14.89 | 0 | 2.36 | 2.26 | 5.41 | 18C103739VIMS_Wach_Dock
2020-05-03 | 12:45 | 2020-05-03 12:45 | 16.468 | 44.107 | 28.52 | 7.63 | -55.7 | 6.83 | 83.1 | 14.19 | 0 | 2.47 | 2.2 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 13:00 | 2020-05-03 13:00 | 16.64 | 43.338 | 27.97 | 7.69 | -59 | 7.08 | 86.1 | 17.22 | 0 | 2.77 | 2.77 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 13:15 | 2020-05-03 13:15 | 16.844 | 42.479 | 27.36 | 7.7 | -59.9 | 7.18 | 87.4 | 17.38 | 0 | 3.25 | 3.49 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 13:30 | 2020-05-03 13:30 | 17.015 | 41.93 | 26.96 | 7.7 | -59.7 | 7.23 | 88 | 17.75 | 0 | 3.57 | 3.81 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 13:45 | 2020-05-03 13:45 | 17.183 | 41.434 | 26.61 | 7.7 | -59.4 | 7.25 | 88.4 | 16.87 | 0 | 3.87 | 4.12 | 5.41 | 18C103739VIMS_Wach_Dock
2020-05-03 | 14:00 | 2020-05-03 14:00 | 17.33 | 40.582 | 26.01 | 7.69 | -59.1 | 7.29 | 88.9 | 17.45 | 0 | 4.12 | 4.32 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 14:15 | 2020-05-03 14:15 | 17.499 | 39.897 | 25.52 | 7.69 | -59 | 7.35 | 89.6 | 15.3 | 0 | 4.14 | 4.4 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 14:30 | 2020-05-03 14:30 | 17.656 | 39.875 | 25.51 | 7.68 | -58.8 | 7.4 | 90.5 | 15.27 | 0 | 4.37 | 4.62 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 14:45 | 2020-05-03 14:45 | 17.844 | 39.564 | 25.29 | 7.68 | -58.8 | 7.46 | 91.4 | 13.95 | 0 | 4.37 | 5.04 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 15:00 | 2020-05-03 15:00 | 18.063 | 39.217 | 25.04 | 7.68 | -58.9 | 7.52 | 92.4 | 14.55 | 0 | 4.48 | 5.19 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 15:15 | 2020-05-03 15:15 | 18.274 | 38.928 | 24.84 | 7.68 | -58.7 | 7.55 | 93.1 | 24.81 | 0 | 5.2 | 5.39 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 15:30 | 2020-05-03 15:30 | 18.424 | 38.572 | 24.59 | 7.67 | -58.4 | 7.59 | 93.7 | 14.14 | 0 | 5.38 | 6.02 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 15:45 | 2020-05-03 15:45 | 18.418 | 38.208 | 24.33 | 7.67 | -58.4 | 7.64 | 94.1 | 12.55 | 0 | 5.89 | 6.42 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 16:00 | 2020-05-03 16:00 | 18.622 | 38.267 | 24.37 | 7.67 | -58.4 | 7.66 | 94.7 | 12.34 | 0 | 6.12 | 7.09 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 16:15 | 2020-05-03 16:15 | 18.708 | 38.495 | 24.53 | 7.68 | -58.5 | 7.61 | 94.4 | 12.65 | 0 | 5.73 | 5.79 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 16:30 | 2020-05-03 16:30 | 18.57 | 37.875 | 24.1 | 7.67 | -58.3 | 7.59 | 93.6 | 12.42 | 0 | 5.22 | 5.44 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 16:45 | 2020-05-03 16:45 | 18.629 | 39.032 | 24.91 | 7.67 | -58.3 | 7.54 | 93.6 | 15.15 | 0 | 4.74 | 5.38 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 17:00 | 2020-05-03 17:00 | 18.447 | 38.865 | 24.79 | 7.67 | -58.2 | 7.51 | 92.8 | 14.07 | 0 | 4.92 | 5.42 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 17:15 | 2020-05-03 17:15 | 18.57 | 40.214 | 25.75 | 7.68 | -59 | 7.55 | 94.1 | 14.36 | 0 | 4.81 | 5.2 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 17:30 | 2020-05-03 17:30 | 18.666 | 41.071 | 26.36 | 7.7 | -60 | 7.65 | 95.9 | 18.5 | 0 | 4.86 | 4.81 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 17:45 | 2020-05-03 17:45 | 18.866 | 41.561 | 26.71 | 7.71 | -60.5 | 7.73 | 97.4 | 16.07 | 0 | 4.54 | 4.41 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 18:00 | 2020-05-03 18:00 | 19.074 | 42.349 | 27.27 | 7.72 | -61 | 7.74 | 98.2 | 19.5 | 0 | 3.89 | 3.78 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 18:15 | 2020-05-03 18:15 | 19.226 | 42.885 | 27.65 | 7.72 | -60.8 | 7.67 | 97.9 | 26.05 | 0 | 3.72 | 3.73 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 18:30 | 2020-05-03 18:30 | 19.583 | 43.083 | 27.79 | 7.72 | -60.9 | 7.66 | 98.5 | 15.41 | 0 | 3.32 | 3.3 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 18:45 | 2020-05-03 18:45 | 19.849 | 43.406 | 28.02 | 7.71 | -60.5 | 7.56 | 97.8 | 17.17 | 0 | 3.47 | 2.94 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 19:00 | 2020-05-03 19:00 | 19.992 | 43.985 | 28.44 | 7.7 | -60.2 | 7.46 | 97.1 | 14.89 | 0 | 3.06 | 2.7 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 19:15 | 2020-05-03 19:15 | 20.09 | 44.376 | 28.72 | 7.69 | -59.7 | 7.36 | 96.1 | 14.17 | 0 | 2.95 | 2.58 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 19:30 | 2020-05-03 19:30 | 20.188 | 44.738 | 28.98 | 7.69 | -59.3 | 7.28 | 95.3 | 12.83 | 0 | 2.65 | 2.17 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 19:45 | 2020-05-03 19:45 | 20.258 | 44.797 | 29.02 | 7.68 | -59.1 | 7.23 | 94.8 | 13.65 | 0 | 2.63 | 2.19 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 20:00 | 2020-05-03 20:00 | 20.296 | 45.138 | 29.27 | 7.68 | -59 | 7.19 | 94.5 | 13.17 | 0 | 2.52 | 2.06 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 20:15 | 2020-05-03 20:15 | 20.265 | 45.24 | 29.34 | 7.69 | -59.5 | 7.21 | 94.7 | 10.37 | 0 | 2.53 | 2.16 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 20:30 | 2020-05-03 20:30 | 20.218 | 45.487 | 29.52 | 7.7 | -60.3 | 7.29 | 95.9 | 11.82 | 0 | 2.38 | 2.08 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 20:45 | 2020-05-03 20:45 | 20.164 | 45.593 | 29.6 | 7.72 | -61 | 7.37 | 96.8 | 11.82 | 0 | 2.25 | 2.09 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 21:00 | 2020-05-03 21:00 | 20.074 | 45.697 | 29.67 | 7.73 | -61.7 | 7.43 | 97.5 | 10.7 | 0 | 2.28 | 1.85 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 21:15 | 2020-05-03 21:15 | 19.963 | 45.789 | 29.74 | 7.73 | -61.9 | 7.44 | 97.5 | 9.69 | 0 | 2.39 | 1.97 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 21:30 | 2020-05-03 21:30 | 19.869 | 45.852 | 29.78 | 7.73 | -62 | 7.45 | 97.4 | 9.31 | 0 | 2.45 | 2.01 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 21:45 | 2020-05-03 21:45 | 19.826 | 45.852 | 29.78 | 7.74 | -62.1 | 7.45 | 97.4 | 8.93 | 0 | 2.21 | 1.97 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 22:00 | 2020-05-03 22:00 | 19.793 | 46.192 | 30.03 | 7.74 | -62.1 | 7.43 | 97.1 | 7.78 | 0 | 2.43 | 1.97 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 22:15 | 2020-05-03 22:15 | 19.776 | 45.863 | 29.79 | 7.73 | -62 | 7.39 | 96.5 | 6.73 | 0 | 1.86 | 1.33 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 22:30 | 2020-05-03 22:30 | 19.77 | 46.111 | 29.97 | 7.73 | -61.8 | 7.37 | 96.3 | 6.57 | 0 | 1.89 | 1.3 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 22:45 | 2020-05-03 22:45 | 19.573 | 45.902 | 29.82 | 7.74 | -62 | 7.4 | 96.3 | 5.27 | 0 | 2 | 1.92 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-03 | 23:00 | 2020-05-03 23:00 | 19.723 | 46.105 | 29.97 | 7.73 | -61.9 | 7.42 | 96.8 | 5.47 | 0 | 2.16 | 1.96 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 23:15 | 2020-05-03 23:15 | 19.979 | 45.764 | 29.72 | 7.73 | -62 | 7.41 | 97.1 | 5.33 | 0 | 2.4 | 2.26 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 23:30 | 2020-05-03 23:30 | 20.142 | 45.817 | 29.76 | 7.73 | -61.6 | 7.33 | 96.4 | 5.16 | 0 | 2.18 | 1.81 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-03 | 23:45 | 2020-05-03 23:45 | 20.555 | 45.553 | 29.56 | 7.73 | -61.8 | 7.35 | 97.3 | 7.36 | 0 | 2.72 | 2.15 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 0:00 | 2020-05-04 | 20.78 | 45.688 | 29.66 | 7.73 | -61.8 | 7.35 | 97.7 | 7.42 | 0 | 2.85 | 2.32 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 0:15 | 2020-05-04 00:15 | 20.767 | 45.506 | 29.53 | 7.71 | -61 | 7.25 | 96.3 | 9.01 | 0 | 3.2 | 2.29 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 0:30 | 2020-05-04 00:30 | 21.266 | 45.393 | 29.44 | 7.69 | -59.4 | 7.03 | 94.1 | 8.96 | 0 | 3.21 | 2.22 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 0:45 | 2020-05-04 00:45 | 21.346 | 45.226 | 29.32 | 7.67 | -58.4 | 6.92 | 92.7 | 12.94 | 0 | 3.47 | 2.87 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 1:00 | 2020-05-04 01:00 | 21.375 | 45.012 | 29.17 | 7.65 | -57.3 | 6.78 | 90.8 | 12.67 | 0 | 3.44 | 2.72 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 1:15 | 2020-05-04 01:15 | 21.469 | 44.787 | 29 | 7.64 | -56.8 | 6.76 | 90.6 | 12.66 | 0 | 3.32 | 2.64 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 1:30 | 2020-05-04 01:30 | 21.489 | 44.58 | 28.85 | 7.65 | -57.2 | 6.79 | 91 | 14.15 | 0 | 3.65 | 3.11 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 1:45 | 2020-05-04 01:45 | 21.418 | 44.358 | 28.69 | 7.7 | -60 | 7.15 | 95.6 | 19.48 | 0 | 4.21 | 3.66 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 2:00 | 2020-05-04 02:00 | 21.475 | 43.427 | 28.02 | 7.71 | -60.8 | 7.28 | 97.1 | 18.61 | 0 | 4.63 | 4.16 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 2:15 | 2020-05-04 02:15 | 21.483 | 42.229 | 27.16 | 7.74 | -62.4 | 7.51 | 99.7 | 20.31 | 0 | 5.1 | 4.61 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 2:30 | 2020-05-04 02:30 | 21.493 | 41.338 | 26.53 | 7.73 | -61.9 | 7.52 | 99.4 | 19.79 | 0 | 5.65 | 5.04 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 2:45 | 2020-05-04 02:45 | 21.506 | 40.914 | 26.23 | 7.72 | -61.4 | 7.49 | 98.9 | 20.46 | 0 | 6.01 | 5.76 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 3:00 | 2020-05-04 03:00 | 21.462 | 40.916 | 26.23 | 7.71 | -60.6 | 7.4 | 97.6 | 16.13 | 0 | 5.96 | 5.68 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 3:15 | 2020-05-04 03:15 | 21.431 | 40.393 | 25.86 | 7.7 | -60.5 | 7.43 | 97.7 | 16.22 | 0 | 6.14 | 5.7 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 3:30 | 2020-05-04 03:30 | 21.365 | 40.396 | 25.86 | 7.69 | -59.7 | 7.35 | 96.5 | 15.75 | 0 | 6.52 | 6.19 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 3:45 | 2020-05-04 03:45 | 21.381 | 39.5 | 25.22 | 7.69 | -59.6 | 7.38 | 96.7 | 13.04 | 0 | 6.34 | 5.81 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 4:00 | 2020-05-04 04:00 | 21.329 | 39.483 | 25.21 | 7.68 | -59 | 7.3 | 95.5 | 12.61 | 0 | 6.67 | 6.24 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 4:15 | 2020-05-04 04:15 | 21.356 | 39.65 | 25.33 | 7.68 | -58.8 | 7.28 | 95.3 | 11.97 | 0 | 7.56 | 7.77 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 4:30 | 2020-05-04 04:30 | 21.321 | 39.37 | 25.13 | 7.67 | -58.6 | 7.23 | 94.5 | 10.85 | 0 | 7.17 | 7.51 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 4:45 | 2020-05-04 04:45 | 21.32 | 40.091 | 25.64 | 7.67 | -58.5 | 7.19 | 94.3 | 11.45 | 0 | 6.24 | 6.29 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 5:00 | 2020-05-04 05:00 | 21.321 | 40.185 | 25.71 | 7.66 | -58.2 | 7.13 | 93.5 | 12.1 | 0 | 5.71 | 5.11 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 5:15 | 2020-05-04 05:15 | 21.31 | 40.418 | 25.88 | 7.66 | -58 | 7.05 | 92.6 | 12.44 | 0 | 5.38 | 5.2 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 5:30 | 2020-05-04 05:30 | 21.293 | 40.773 | 26.13 | 7.66 | -58 | 7.04 | 92.5 | 12.81 | 0 | 5.48 | 5.45 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 5:45 | 2020-05-04 05:45 | 21.213 | 41.317 | 26.52 | 7.66 | -57.8 | 6.95 | 91.4 | 11.74 | 0 | 5.26 | 5.12 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 6:00 | 2020-05-04 06:00 | 21.099 | 41.6 | 26.72 | 7.65 | -57.2 | 6.81 | 89.5 | 11.6 | 0 | 4.77 | 4.62 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 6:15 | 2020-05-04 06:15 | 20.883 | 42.889 | 27.64 | 7.64 | -56.6 | 6.65 | 87.5 | 12.7 | 0 | 4.31 | 3.91 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 6:30 | 2020-05-04 06:30 | 20.757 | 43.348 | 27.97 | 7.64 | -56.5 | 6.58 | 86.6 | 11.7 | 0 | 4.18 | 4.04 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 6:45 | 2020-05-04 06:45 | 20.619 | 43.722 | 28.24 | 7.63 | -56.2 | 6.5 | 85.4 | 11.64 | 0 | 3.62 | 3.29 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 7:00 | 2020-05-04 07:00 | 20.411 | 44.112 | 28.52 | 7.63 | -56 | 6.43 | 84.3 | 14.88 | 0 | 3.34 | 3.21 | 5.43 | 18C103739VIMS_Wach_Dock
2020-05-04 | 7:15 | 2020-05-04 07:15 | 20.303 | 44.339 | 28.69 | 7.63 | -55.8 | 6.4 | 83.8 | 12.72 | 0 | 3.24 | 2.83 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 7:30 | 2020-05-04 07:30 | 20.123 | 44.077 | 28.5 | 7.62 | -55.6 | 6.36 | 82.9 | 13.08 | 0 | 3.14 | 2.66 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 7:45 | 2020-05-04 07:45 | 19.92 | 44.972 | 29.15 | 7.62 | -55.3 | 6.29 | 82.1 | 21.8 | 0 | 2.75 | 2.48 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 8:00 | 2020-05-04 08:00 | 19.779 | 44.83 | 29.05 | 7.61 | -55.1 | 6.26 | 81.4 | 12.19 | 0 | 2.54 | 2.02 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 8:15 | 2020-05-04 08:15 | 19.584 | 45.475 | 29.51 | 7.61 | -55.1 | 6.24 | 81 | 12.37 | 0 | 2.28 | 1.91 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 8:30 | 2020-05-04 08:30 | 19.369 | 45.716 | 29.69 | 7.62 | -55.4 | 6.26 | 81.1 | 14.01 | 0 | 2.18 | 2.05 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 8:45 | 2020-05-04 08:45 | 19.205 | 45.782 | 29.74 | 7.63 | -55.8 | 6.31 | 81.4 | 12.25 | 0 | 2.37 | 1.86 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 9:00 | 2020-05-04 09:00 | 19.017 | 45.295 | 29.38 | 7.63 | -56.2 | 6.37 | 81.8 | 12.21 | 0 | 2.15 | 2.07 | 5.41 | 18C103739VIMS_Wach_Dock
2020-05-04 | 9:15 | 2020-05-04 09:15 | 18.868 | 45.742 | 29.71 | 7.64 | -56.6 | 6.41 | 82.2 | 11.3 | 0 | 1.99 | 1.97 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 9:30 | 2020-05-04 09:30 | 18.748 | 46.179 | 30.02 | 7.65 | -57.1 | 6.44 | 82.6 | 10.04 | 0 | 2.04 | 1.83 | 5.41 | 18C103739VIMS_Wach_Dock
2020-05-04 | 9:45 | 2020-05-04 09:45 | 18.669 | 46.22 | 30.05 | 7.66 | -57.3 | 6.47 | 82.9 | 9.48 | 0 | 2.08 | 1.81 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 10:00 | 2020-05-04 10:00 | 18.603 | 46.261 | 30.08 | 7.66 | -57.7 | 6.5 | 83.2 | 9.13 | 0 | 2.27 | 2.06 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 10:15 | 2020-05-04 10:15 | 18.551 | 46.294 | 30.11 | 7.66 | -57.8 | 6.51 | 83.2 | 8.77 | 0 | 1.87 | 1.94 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 10:30 | 2020-05-04 10:30 | 18.531 | 46.318 | 30.12 | 7.67 | -57.9 | 6.51 | 83.1 | 8.18 | 0 | 1.95 | 1.84 | 5.41 | 18C103739VIMS_Wach_Dock
2020-05-04 | 10:45 | 2020-05-04 10:45 | 18.515 | 46.341 | 30.14 | 7.67 | -57.9 | 6.51 | 83.1 | 8.39 | 0 | 1.91 | 1.84 | 5.41 | 18C103739VIMS_Wach_Dock
2020-05-04 | 11:00 | 2020-05-04 11:00 | 18.504 | 46.38 | 30.17 | 7.67 | -58.3 | 6.54 | 83.6 | 8.27 | 0 | 1.96 | 2.01 | 5.41 | 18C103739VIMS_Wach_Dock
2020-05-04 | 11:15 | 2020-05-04 11:15 | 18.561 | 46.329 | 30.13 | 7.67 | -57.9 | 6.48 | 82.8 | 8.18 | 0 | 1.96 | 1.74 | 5.41 | 18C103739VIMS_Wach_Dock
2020-05-04 | 11:30 | 2020-05-04 11:30 | 18.575 | 46.341 | 30.14 | 7.67 | -58.1 | 6.51 | 83.3 | 6.69 | 0 | 1.71 | 1.74 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 11:45 | 2020-05-04 11:45 | 18.626 | 46.268 | 30.09 | 7.66 | -57.5 | 6.43 | 82.3 | 6.05 | 0 | 1.66 | 1.52 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 12:00 | 2020-05-04 12:00 | 18.659 | 46.228 | 30.06 | 7.65 | -57.2 | 6.39 | 81.9 | 5.95 | 0 | 1.84 | 1.71 | 5.41 | 18C103739VIMS_Wach_Dock
2020-05-04 | 12:15 | 2020-05-04 12:15 | 18.693 | 46.111 | 29.97 | 7.64 | -56.3 | 6.31 | 80.8 | 7.31 | 0 | 1.99 | 1.75 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 12:30 | 2020-05-04 12:30 | 18.753 | 46.082 | 29.95 | 7.63 | -55.8 | 6.26 | 80.3 | 7.37 | 0 | 2.03 | 1.64 | 5.4 | 18C103739VIMS_Wach_Dock
2020-05-04 | 12:45 | 2020-05-04 12:45 | 18.867 | 45.89 | 29.81 | 7.61 | -54.8 | 6.19 | 79.4 | 8.37 | 0 | 2.17 | 1.92 | 5.41 | 18C103739VIMS_Wach_Dock
2020-05-04 | 13:00 | 2020-05-04 13:00 | 18.909 | 45.85 | 29.79 | 7.61 | -54.6 | 6.19 | 79.5 | 12.45 | 0 | 2.3 | 2.3 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 13:15 | 2020-05-04 13:15 | 19.16 | 45.535 | 29.56 | 7.58 | -52.9 | 6.1 | 78.6 | 18.32 | 0 | 2.4 | 2.28 | 5.41 | 18C103739VIMS_Wach_Dock
2020-05-04 | 13:30 | 2020-05-04 13:30 | 19.351 | 45.348 | 29.42 | 7.56 | -51.8 | 6.04 | 78.1 | 12.64 | 0 | 2.39 | 2.16 | 5.42 | 18C103739VIMS_Wach_Dock
2020-05-04 | 13:45 | 2020-05-04 13:45 | 19.389 | 45.326 | 29.41 | 7.57 | -52.4 | 6.12 | 79.1 | 14.85 | 0 | 2.53 | 2.31 | 5.41 | 18C103739VIMS_Wach_Dock
Formulas:
Date/Time Combined = [MM/DD/YY]+[HH:mm:SS]